{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["产品抽查情况汇总表"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":2,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"产品抽查情况汇总表","index":0,"n_rows":107,"n_cols":9,"rows_kept":107,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,0,1,8],[3,0,4,0],[5,0,6,0],[7,0,8,0],[9,0,10,0],[11,0,12,0],[15,0,16,0],[19,0,20,0],[21,0,22,0],[24,0,25,0],[26,0,27,0],[28,0,29,0],[30,0,31,0],[32,0,33,0],[34,0,35,0],[37,0,38,0],[40,0,41,0],[42,0,43,0],[45,0,46,0],[47,0,48,0],[49,0,50,0],[51,0,52,0],[54,0,55,0],[58,0,59,0],[60,0,61,0],[62,0,63,0],[66,0,67,0],[71,0,72,0],[74,0,75,0],[77,0,78,0],[80,0,81,0],[82,0,83,0],[85,0,86,0],[87,0,88,0],[93,0,94,0],[95,0,96,0],[3,1,4,1],[5,1,6,1],[7,1,8,1],[9,1,10,1],[11,1,12,1],[15,1,16,1],[19,1,20,1],[21,1,22,1],[24,1,25,1],[26,1,27,1],[28,1,29,1],[30,1,31,1],[32,1,33,1],[34,1,35,1],[37,1,38,1],[40,1,41,1],[42,1,43,1],[45,1,46,1],[47,1,48,1],[49,1,50,1],[51,1,52,1],[54,1,55,1],[58,1,59,1],[60,1,61,1],[62,1,63,1],[66,1,67,1],[71,1,72,1],[74,1,75,1],[77,1,78,1],[80,1,81,1],[82,1,83,1],[85,1,86,1],[87,1,88,1],[93,1,94,1],[95,1,96,1]],"flags":["formulas_cached_only"]}
["附件："]
["2015年云南省建筑用玻璃产品质量监督抽查结果"]
["序号","受检企业名称","产品名称","产品    商标","规格/型号（㎜）","生产日期/批号","检验      结果","不合格项目名称","备注"]
[1,"云南明泰玻璃股份有限公司","建筑钢化玻璃","图形",5,"2015年4月19日/D15040255","合格"]
[null,null,"建筑安全              中空玻璃","图形","（5+9A+5）","2015年4月4日/D14030736","合格"]
[2,"昆明磊洲商贸有限公司","建筑钢化玻璃","——",5,"2015年4月23日/1504-689#","合格"]
[null,null,"建筑安全            中空玻璃","——","（5+6A+5）mm无色","2015年4月11日/1504-367","合格"]
[3,"昆明世之光玻璃有限公司","建筑钢化玻璃","——",6,"2015年4月9日/0409-P5-4","合格"]
[null,null,"建筑普通              夹层玻璃      ","——","（5+0.38PVB+5）mm无色","2015年4月9日/0409-PJ1","合格"]
[4,"云南恒业玻璃技术有限公司","建筑钢化玻璃","——",5,"2015年4月15日/HY4-113#-1","合格"]
[null,null,"建筑普通              夹层玻璃            ","——","（6+0.76PVB+6）mm 无色","2015年4月6日/HY4-3007#-4","合格"]
[5,"昆明飞天玻璃加工有限责任公司","建筑钢化玻璃","——",5,"2015年4月23日/4-p1269","合格"]
[null,null,"建筑安全            中空玻璃","——","（5+6A+5）mm 无色","2015年3月23日/3-P1025","合格"]
[6,"昆明星之航玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月14日/P04-507","合格"]
[7,"昆明育德玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月24日/4-24-96","合格"]
[8,"昆明瀚凯玻璃有限公司五华分公司","建筑钢化玻璃","图形",5,"2015年3月21日/3-0500","合格"]
[null,null,"建筑钢化                    夹层玻璃      ","图形","（5+0.76PVB+5）mm  无色","2015年4月15日/4-0448","合格"]
[9,"昆明川朋钢化玻璃有限公司","建筑钢化玻璃","——","6mm 无色","2015年4月21日/D1504346","合格"]
[10,"云南正泰玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月25日/4-25-13#","合格"]
[11,"昆明易兴泰玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月22日/15-4-P538","合格"]
[null,null,"建筑钢化                       夹层玻璃      ","——","（5+0.38PVB+5）mm  无色","2015年4月24日/15-4-J53","合格"]
[12,"云南习兴玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月30日/15-04-P1360","合格"]
[null,null,"建筑安全             中空玻璃","——","（5+6A+5）mm无色","2015年4月10日/15-04-Z44","合格"]
[13,"昆明市西山区鼎峰玻璃经营部","建筑安全          中空玻璃","——","（5+6A+5）mm无色","2015年4月14日/14-04-J17","合格"]
[14,"昆明耀邦工贸有限公司","建筑钢化玻璃","——",5,"2015年4月20日/15-4-20-P644","合格"]
[null,null,"建筑钢化                  夹层玻璃            ","——","（6+0.76PVB+6）mm无色","2015年4月20日/15-4-20-PJ74","合格"]
[15,"昆明昌迪安全玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月8日/c150408-812","合格"]
[null,null,"建筑安全          中空玻璃","——","（5+9A+5）mm无色","2015年4月10月/C150410-916","合格"]
[16,"云南阳光利生玻璃科技有限公司","建筑钢化玻璃","——",5,"2015年4月15日/XD15041501","合格"]
[null,null,"建筑钢化          夹层玻璃      ","——","（5+0.76PVB+5）mm 无色","2015年5月5日/XJ15050501","合格"]
[17,"云南美亮玻璃科技有限公司","建筑钢化玻璃","——",5,"2015年4月30日/04-P100","合格"]
[null,null,"建筑安全         中空玻璃","——","（5+9A+5）mm无色","2015年4月30日/04-PZ63","合格"]
[18,"昆明市西山区亿彬玻璃钢化厂","建筑钢化玻璃","——",5,"2015年3月9日/3-2-P17","合格"]
[null,null,"建筑钢化         夹层玻璃      ","——","（5+0.76PVB+5）mm 无色","2015年4月26日/MJ5-009#","合格"]
[19,"昆明明跃吉玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月26日/MJ5-009#","合格"]
[null,null,"建筑钢化            夹层玻璃      ","——","（5+0.38PVB+5）mm无色","2015年4月5日/4-J3024#","合格"]
[20,"昆明瀚凯玻璃有限公司","建筑钢化玻璃","图形",5,"2015年5月2日/050251","合格"]
[21,"云南呈达企业集团有限公司","建筑钢化玻璃","图形",5,"2015年4月30日/J150694","合格"]
[null,null,"建筑钢化          夹层玻璃      ","图形","（5+1.14PVB+5）mm无色","2015年4月30日/J150705","合格"]
[22,"昆明耀美德玻璃有限公司","建筑钢化玻璃","——",5,"2015年3月25日/03-25-392","合格"]
[23,"云南玉溪荣盛玻璃工艺装饰有限公司","建筑钢化玻璃","——",5,"2015年4月20日/6-4-20-168","合格"]
[null,null,"建筑普通            夹层玻璃","——","（4+0.38PVB+4）mm无色","2015年4月19日/7-4-19-51","合格"]
[24,"玉溪市浩盛玻璃科技有限公司","建筑钢化玻璃","图形",5,"2015年4月23日/NO.20150509069","合格"]
[null,null,"建筑（安全）           中空玻璃","图形","（5+9A+5）mm无色","2015年4月23日/201504-Z190","合格"]
[25,"玉溪市红塔区益明玻璃加工厂","建筑普通           夹层玻璃","——","（5+0.38EVA+5）mm无色","2015年4月29日/1504-ym349","合格"]
[26,"昆明全钢玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月20日/G：4-20-6","合格"]
[null,null,"建筑钢化          夹层玻璃","——","（5+0.76PVB+5）mm无色","2015年5月11日/J:5-29","合格"]
[27,"昆明特奥星工贸有限公司","建筑钢化玻璃","——",5,"2015年5月6日/15-05-P91","合格"]
[null,null,"建筑（安全）        中空玻璃","——","（5+9A+5）mm无色","2015年4月14日/15-04-P168","合格"]
[28,"云南威航玻璃有限公司","建筑安全           中空玻璃","——","（5+9A+5）mm无色","2015年4月23日/D1504094-37","合格"]
[null,null,"建筑钢化玻璃","——",5,"2015年2月28日/D1502066-02","不合格","碎片状态项目","整改复查合格"]
[29,"楚雄市毓昌工贸有限公司","建筑钢化玻璃","——",5,"2015年4月18日/15-4-P18-4-1","合格"]
[null,null,"建筑钢化             夹层玻璃      ","——","(6＋0.76PVB＋6)","2015年3月28日/15-03-P28-13","合格"]
[30,"楚雄鹏达商贸有限责任公司","建筑钢化玻璃","——",5,"2015年4月22日/15-04-474","合格"]
[31,"云南昌安玻璃制品有限公司","建筑钢化玻璃","——",5,"2015年5月12日/D150512067","合格"]
[null,null,"建筑钢化           夹层玻璃","——","（5+0.76湿法灌浆+5）mm无色","2015年5月8日/D150508084","合格"]
[32,"昆明迪卡隆玻璃制品有限公司","建筑钢化玻璃","——",5,"2015年5月13日/C0513-151","合格"]
[33,"大理豪美玻璃有限公司","建筑钢化玻璃","——",5,"2015年4月30日/0430-1835","合格"]
[34,"大理奥成玻璃工贸有限公司","建筑钢化玻璃","——",5,"2015年5月7日/2015050721","合格"]
[null,null,"建筑钢化             夹层玻璃      ","——","(5+0.76PVB+5)mm无色","2015年5月13日/2015051338","合格"]
[35,"大理华泰玻璃有限公司","建筑钢化玻璃","——",5,"2015年5月19日/2015-5-P323","合格"]
[null,null,"建筑钢化              夹层玻璃      ","——","(5+0.76PVB+5)mm无色","2015年5月10日/2015-5-P194","合格"]
[36,"大理市盈丰装饰材料行","建筑钢化玻璃","——",5,"2015年5月1日/2015-5-P006","合格"]
[null,null,"建筑钢化           夹层玻璃","——","(5+0.76EVA+5)mm无色","2015年4月16日/2015-4-J174","合格"]
[37,"古城区丽达钢化玻璃制品加工厂","建筑钢化玻璃","——",5,"2015年5月16日/P0516-832","合格"]
[38,"德宏民盛钢化玻璃工贸有限公司","建筑钢化玻璃","碒牌/图形",5,"2015年4月21日/D1504190","合格"]
[39,"保山旭升商贸有限公司","建筑钢化玻璃","——",5,"2015年3月28日/D150328001","合格"]
[null,null,"建筑安全            中空玻璃","——","（5+6A+5）mm无色","2015年4月18日/15-4-P18-4-1","合格"]
[40,"临沧致远玻璃经贸有限责任公司","建筑钢化玻璃","——",5,"2015年5月21日/12-P046","合格"]
[41,"祥云县祥兴工贸有限公司","建筑钢化玻璃","——",5,"2015年5月17日/20150517-11","合格"]
[42,"云南一鑫玻璃制品有限公司","平板玻璃","雲玻","3.5mm无色","2015年4月8日2班","合格"]
[43,"云南易门永兴玻璃制品有限公司","平板玻璃","——","3.5mm无色","2015年5月23日 一车间","合格"]
[null,null,"平板玻璃","——","3.3mm绿色","2015年5月24日 二车间","合格"]
[44,"昆明市西山区启瑞玻璃加工厂","建筑安全            中空玻璃","——","（5+9A+5）mm无色","2015年5月18日/№：150518","合格"]
[45,"昆明赣朋玻璃科技有限公司","建筑钢化            夹层玻璃","——","（5+0.76EVA+5）mm无色","2015年5月21日/0521-1149","合格"]
[null,null,"建筑钢化玻璃","——",5,"2015年5月23日/0523-1258","不合格","碎片状态项目","整改复查合格"]
[46,"宣威晶盛钢化玻璃有限公司","建筑钢化玻璃","——",5,"2015年5月20日/JS-2087","合格"]
[47,"云南雄鹰安全玻璃有限公司","建筑钢化玻璃","——",5,"2015年5月17日/2015-5-17-873#","合格"]
[null,null,"建筑钢化               夹层玻璃","——","（5+0.38湿法灌浆+5）mm无色","2015年5月8日/2015-5-8-399#","合格"]
[48,"曲靖市辉煌钢化玻璃有限公司","建筑钢化             夹层玻璃","——","(5+0.76EVA+5)mm无色","2015年5月23日/HH-05-50811","合格"]
[49,"曲靖格瑞工贸有限公司","建筑钢化玻璃","——",5,"2015年5月6日/150428-36","合格"]
[null,null,"建筑钢化           夹层玻璃      ","——","(5+0.76PVB+5)mm无色","2015年5月23日/150515-16","合格"]
[50,"云南云翔玻璃有限公司","平板玻璃","华欣","5mm无色","2015年5月12日/浮法二线甲班","合格"]
[null,null,"平板玻璃","华欣","6mm 无色","2015年4月7日/浮法二线丙班","合格"]
[51,"昆明金亿达钢化玻璃加工有限公司","建筑钢化玻璃","——",5,"2015年5月27日/050429-1","合格"]
[52,"西双版纳荣盛工贸有限公司","建筑钢化玻璃","——",5,"2015年5月30日/RS5-402","合格"]
[null,null,"建筑钢化         夹层玻璃","——","(5+0.76EVA+5)mm无色","2015年5月26日/RS5-333","合格"]
[53,"普洱活跃钢化玻璃有限公司","建筑钢化玻璃","——",5,"2015年6月2日/2015.6.2-1678#","合格"]
[null,null,"建筑安全              中空玻璃","——","（5+6A+5）mm无色","2015年6月5日/2015.6.5-1742#","合格"]
[54,"建水县华腾钢化玻璃有限公司","建筑钢化玻璃","众华腾及图形",5,"2015年5月29日/5-29-H20","合格"]
[55,"云南云宏玻璃制造有限公司","建筑钢化玻璃","云宏",5,"2015年6月4日/6-p148、6-p120","合格"]
[56,"蒙自俊雅玻璃总汇","建筑钢化玻璃","——",5,"2015年6月2日/2015-6-221E","合格"]
[57,"云南格莱斯钢化玻璃有限公司","建筑钢化玻璃","——",5,"2015年6月10日/060315","合格"]
[58,"文山勤发钢化玻璃有限公司","建筑钢化玻璃","——",5,"2015年6月15日/A50608009P1","合格"]
[null,null,"建筑安全            中空玻璃","——","（5+12A+5）mm无色","2015年4月21日/A50421012","合格"]
[59,"弥勒市吉成新型建材有限责任公司","平板玻璃","——","4.6mm无色","2015年4月5日三线早班","合格"]
[null,null,"平板玻璃","——","3.6mm无色","2015年5月16日三线早班","合格"]
[60,"昆明明扬玻璃有限公司","平板玻璃","——","2.3mm无色","2015年5月13日/甲班","合格"]
[61,"云南砚池工贸有限责任公司","建筑钢化玻璃","图形",5,"2015年6月4日/2015-6-4-30","合格"]
[62,"昆明市西山区鼎峰玻璃经营部","建筑钢化           夹层玻璃   ","——","(5+0.76湿法灌浆+5)","2015年4月28日/201504No.31","不合格","落球冲击剥离性能项目","整改复查合格"]
[63,"云南胡周商贸有限公司","建筑钢化玻璃","——",5,"2015年5月5日/5-5-88","不合格","碎片状态项目、尺寸及其允许偏差","整改复查合格"]
[64,"昆明满高玻璃销售有限公司","建筑钢化玻璃","——",5,"2015年5月9日/5-9-P297","不合格","碎片状态项目","整改复查合格"]
[65,"楚雄齐兴工贸有限公司","建筑钢化玻璃","——",5,"2015年5月5日/5-5-5","不合格","碎片状态项目","整改复查合格"]
[66,"云南万事达钢化玻璃有限公司","建筑钢化玻璃","——",5,"2015年5月10日/0510-784","不合格","碎片状态项目","整改复查合格"]
[67,"曲靖市辉煌钢化玻璃有限公司","建筑钢化玻璃","——",5,"2015年5月8日/HH-05-50265-1","不合格","厚度及其允许偏差、碎片状态项目、表面应力","整改复查合格"]
[68,"昆明博冠钢化玻璃加工厂","建筑钢化玻璃","——",5,"2015年6月13日/2015613-864","不合格","碎片状态项目","整改复查合格"]
[69,"昆明市盘龙区鸿远钢化玻璃厂","建筑钢化玻璃","——",5,"2015年6月16日/八七五","不合格","厚度及其允许偏差、碎片状态项目","整改复查合格"]